## Slide 1: Soil Dynamics
By: M. Iman Khodakarami (Associate Prof. of Earthquake Eng.)
Email: Khodakarami@semnan.ac.ir ; I.Khodakarami@gmail.com
Phone: (+98) 23- 31535243
Civil Eng. Faculty,
Semnan University

## Slide 2: Vertical Vibration of Foundations
Lamb’s problem (dynamic Boussinesq problem)

## Slide 3: Vertical Vibration of Foundations
Uniformly loaded flexible circular area

## Slide 4: Vertical Vibration of Foundations
Uniformly loaded flexible circular area

## Slide 5: Vertical Vibration of Foundations
contact pressure at a distance r measured from the center of the foundation

## Slide 6: Vertical Vibration of Foundations

## Slide 7: Vertical Vibration of Foundations
Foundations, on some occasions, may be subjected to a frequency-dependent excitation

## Slide 8: Vertical Vibration of Foundations

## Slide 9: Vertical Vibration of Foundations

## Slide 10: Vertical Vibration of Foundations

## Slide 11: Lysmer’s Analog Solutions for Vertical Vibration of Foundations

## Slide 12: Lysmer’s Analog Solutions for Vertical Vibration of Foundations
Dynamic Equilibrium for a foundation with mass m:
The displacement function:

## Slide 13: Calculation Procedure for Foundation Response (Vertical Vibration)
Resonant Frequency:
Calculation of natural frequency:
Calculation of damping ratio Dz:

## Slide 14: Calculation Procedure for Foundation Response (Vertical Vibration)
Calculation of the resonance frequency:

## Slide 15: Calculation Procedure for Foundation Response (Vertical Vibration)
Amplitude of Vibration at Resonance:
Amplitude of Vibration at Frequencies Other Than Resonance:
For rectangular foundation (BxL):

## Slide 16: Calculation Procedure for Foundation Response (Vertical Vibration)
In the design of machine foundations, the following general rules may be kept in mind to avoid possible resonance conditions:

## Slide 17: Foundation Response (Vertical Vibration); Example-1

## Slide 18: Rocking Vibration of Foundations
Contact pressure at any point defined by point “a” on the plan:
Equation of motion for a rocking vibration:

## Slide 19: Solution procedure for foundation response (Rocking Vibration )

## Slide 20: Solution procedure for foundation response (Rocking Vibration )

## Slide 21: Rocking Vibration of Rectangular Foundations

## Slide 22: Foundation Response (Rocking Vibration); Example-1c

## Slide 23: Foundation Response (Rocking Vibration); Example-1c

## Slide 24: Foundation Response (Rocking Vibration); Example-1c

## Slide 25: Foundation Response (Rocking Vibration); Example-1c
Exercise-1: Derive equation of motion for sliding and torsional vibration of a foundation and calculate the foundation response.
Exercise-2: Derive equation of motion for Coupled Rocking and Sliding Vibration of a foundation and calculate its response.

## Slide 26: Vibration of Embedded Foundations
Vertical Vibration of Rigid Cylindrical Foundations

## Slide 27: Vertical Vibration of Embedded Foundations

## Slide 28: Vertical Vibration of Embedded Foundations

## Slide 29: Vertical Vibration of Embedded Foundations
Damping ratio:

## Slide 30: Vertical Vibration of Embedded Foundations
Exercise-3: Derive equation of motion for sliding, torsional and rocking vibration of a embedded foundation and calculate the foundation response.

## Slide 31: Active/ Passive Isolation by Use of Open Trenches

## Slide 32: Dynamic bearing capacity of shallow foundations
Most important factors:
Nature of variation of the magnitude of the loading pulse,
Duration of the pulse,
Strain-rate response of the soil during deformation

## Slide 33: Bearing Capacity of foundation in Sand
static ultimate bearing capacity:

## Slide 34: Bearing Capacity of foundation in Sand
Effects loading velocity on bearing capacity factor
This, in effect, corresponds to a decrease in the angle of friction of soil by about 2º when the loading velocity reached a value of about 50.8 × 10−3 mm/s.

## Slide 35: Bearing Capacity of foundation in Clay
For foundations resting on saturated clays (φ = 0 and c = cu;), so;
The ultimate bearing capacity of foundations resting on saturated clay soils, provided the strain-rate effect due to dynamic loading is taken into consideration in determination of the undrained cohesion. Unlike the case in sand, the undrained cohesion of saturated clays increases with the increase of the strain rate. Based on those results, Carroll (1963) suggested that cu(dyn)/cu(stat) may be approximated to be about 1.5.

## Slide 36: Experimental Observation of Load-Settlement Relationship for Vertical Transient Loading

## Slide 37: Seismic Bearing Capacity and Settlement in Granular Soil
Failure surface in soil for static bearing capacity analysis:
Failure surface in soil for seismic bearing capacity analysis:

## Slide 38: Seismic Bearing Capacity and Settlement in Granular Soil

## Slide 39: Seismic Bearing Capacity and Settlement in Granular Soil

## Slide 40: Seismic Bearing Capacity- Example

## Slide 41: Seismic Bearing Capacity- Example

## Slide 42: Seismic Bearing Capacity- Example